## Slide 1
Call Dataimport_0pt1 to return raw data from file names & content names for 1 electrode
AnalyzerScript_0pt3
If continuous calibration
If continuous manual
If continuous automatic
call continuous_calibration_interactive and return raw data for a single calibration, for a single electrode
- preprocess return data to general format
- preprocess return data to general format
call continuous_calibration_interactive and return raw data for all calibrations, for a single electrode
Elseif individual calibration
-Do nothing, data already in general format
Call SensTestSplit to extract only sensitivity data from raw data
Call SelTestSplit extract only selectivity data from raw data
Call StabTestSplit extract only stability data from raw data
-choose input parameters
Call SensPlotting to plot only sensitivity data for 1 electrode, and to build global variables that contain the sensitivity data for all the electrodes
Call SelPlotting to plot only selectivity data for 1 electrode, and to build global variables that contain the selectivity data for all the electrodes
Call StabPlotting to plot only stability data for 1 electrode, and to build global variables that contain the stability data for all the electrodes
Repeat for the number of electrodes used
Repeat for the number of calibrations
-Using global sensitivity, selectivity, and stability variables plot LoD, interference data, MARD, and RSD for all electrodes
Call SummaryGraph to plot a graph containing a summary of sensitivity data from all electrodes

## Slide 2
Current data vector of length(x)
…
…
File 1
File 2
File n
MeasurementC (n by x)
Time data vector of length x starting at t=0
…
…
TimePointC (n by x)
Concentration (mM)
…
…
TestConcentrationC (n by 1)
Required General Format for Raw Data Variables (For a Single Electrode)
File 1
File 2
File n
Iteration Number
…
…
TestIterationC (n by 1)
TestIntervalC (n by 1)
Sample Interval (s) (i.e. time between individual samples)
…
…
Measurement Length (s)
…
…
TestLengthC (n by 1)
TestHourC (n by 1)
Calibration #
…
…
File 1
File 2
File n
Type of Test .
‘Selectivity’,’Sensitivity’,or ‘Stability’
…
TestTypeC (n by 1)
Interferents added to solution
‘AA+UA+ACT’
‘[NaN]’ for non- selectivity tests
Analyte being Tested
‘Glucose’
…
TestAnalyteC (n by 1)
TestInterferentC (n by 1)

## Slide 3
Sensitivity Global Variables
SummedSensitivity (n by 1)
Calibration Current (nA) (average of sampled)
…
…
…
…
…
…
…
…
SummedConcentration (n by 1)
Concentration (mM)
…
…
…
…
…
…
…
…
point 2, electrode 1, calibration 1
point 1, electrode 2, calibration 0
point 2, electrode 2, calibration 0
point 3, electrode 2, calibration 0
point 3, electrode 1, calibration 1
point 2, electrode 1, calibration 0
point 3, electrode 1, calibration 0
point 1, electrode 1, calibration 1
point 1, electrode 1, calibration 0
Calibration Number 0
0
0
1
1
1
0
0
0
SummedHour(n by 1)
n = # calibration points * # electrodes * # calibrations

## Slide 4
Sensitivity Global Variables
Error on calibration point (0 if there is only 1 iteration per calibration point) |  |  | 
SummedDeviation ((# calibrations * # electrodes) by # calibrations)
Calibration 0 electrode 1
Calibration 1 electrode 1
Calibration 0 electrode 2
Calibration 1 electrode 2
Calibration point 1
Calibration point 2
Calibration point 3
Calibration point 4

## Slide 5
Selectivity Global Variables
summedInterferenceAverage
SummedInterferenceLabel
summedInterferenceHour
Selectivity Current (A) (Average of sampled)
…
…
…
…
…
…
…
…
…
…
…
Calibration 0 Electrode 1
Calibration 0 Electrode 1
Calibration 0 Electrode 1
Calibration 1 Electrode 1
Calibration 1 Electrode 1
Calibration 1 Electrode 1
Calibration 0 Electrode 2
Calibration 0 Electrode 2
Calibration 0 Electrode 2
Calibration 0 Electrode 2
Calibration 0 Electrode 2
Calibration 0 Electrode 2
Interference Type ‘Baseline’
‘Control’
‘AA+UA+ACT’
‘Baseline’
‘Control’
‘AA+UA+ACT’
‘Baseline’
‘Control’
‘AA+UA+ACT’
‘Baseline’
‘Control’
‘AA+UA+ACT’
Calibration # 0
0
0
1
1
1
0
0
0
1
1
1

## Slide 6
Stability Global Variables
SensitivtySlope